Request for Proposal:

Cardiac Monitor/Defibrillator

RFP# 2020-

December 7, 2020

- Statement of Work

1.1 Purpose The purpose of this request for proposal (RFP) is to invite prospective vendors to submit a proposal to supply cardiac monitors/defibrillators to McDowell County EMS (herein referred to as MCDEMS). MCDEMS is seeking to purchase seven new cardiac monitors/defibrillators to replace all Philips MRX Monitors on frontline ambulances. This cardiac monitor shall be the manufacturer’s newest model available. The RFP provides the vendor with the relevant operational, performance, and application requirements of the device.

1.2 Legal Notice McDowell EMS will advertise and accept competitive bids for the purchase of a cardiac monitor and accessories. Bids shall be submitted in a sealed envelope to the McDowell County Administration Building Attention: Karen Morgan, 60 East Court Street, Marion, NC  28752 no later than December 21, 2020 at 11:00 AM. Bids will be opened at 2:00PM on December 21 in the McDowell County Administration Conference Room.

1.3 Coverage and Participation The intended coverage of this RFP, and any agreement resulting from this solicitation, shall be for the use of McDowell EMS. MCDEMS reserves the right not to enter into any contract, to add and/or delete elements to the RFP, or to change any element of the coverage of the RFP and participation of the RFP at any time without prior notification and without any liability or obligation of any kind or amount.

- General Information

2.1 Original RFP Document MCDEMS shall retain the RFP, and all related terms and conditions, exhibits and other attachments, in original form in any archival copy. Any modification of these, in the vendor’s submission, is grounds for immediate disqualification.

2.2 Schedule of Events The following is a tentative schedule that will apply to this RFP, but may change in accordance with the organization's needs or unforeseen circumstances. Changes will be communicated by e-mail to all invited bidders.

- Issuance of RFP December 7, 2020

- Technical Questions/inquiries due December 16, 2020- 4:00 pm to ajones@mcdowellems.com with response to inquiries guaranteed within 48 hours of submission.

- RFP Closes December 21, 2020 - 11:OO AM

- Proposal Preparation Instructions

3.1 Vendor's Understanding of the RFP In responding to this RFP, the vendor accepts full responsibility to understand the RFP in its entirety, and in detail, including making any inquiries to MCDEMS as necessary to gain such understanding. MCDEMS reserves the right to disqualify any vendor who demonstrates less than such understanding. Further, MCDEMS reserves the right to determine, at its sole discretion, whether the vendor has demonstrated such understanding. That right extends to cancellation of award, if award has been made. Such disqualification and/or cancellation shall be at no fault, cost, or liability whatsoever to MCDEMS.

3.2 Good Faith Statement All information provided by MCDEMS in this RFP is offered in good faith. Individual items are subject to change at any time. MCDEMS makes no certification that any item is without error. MCDEMS is not responsible or liable for any use of the information or for any claims asserted there from.

3.3 Communication Verbal communication shall not be effective unless formally confirmed in writing by a specified procurement official in charge of managing this RFP process. In no case shall verbal communication govern over written communication.

Vendors' Inquiries applicable terms and conditions herein shall govern communications and inquiries between MCDEMS and vendors as they relate to this RFP. All inquiries, questions, requests for clarification, and communication related to this RFP are to be directed in writing via email to:

Adrienne Jones, Deputy Director

E-mail: ajones@mcdowellems.com

Telephone: Office (828)652-3241 Cell: (828)442-1862

3.4 Proposal Submission Proposals must be delivered sealed to McDowell County Administration Building Attention: Karen Morgan, 60 East Court Street, Marion, NC  28752 no later than December 21, 2020 at 11:00 AM. MCDEMS shall not accept proposals received by fax or delivered via e-mail.

3.5 Criteria for Selection The evaluation of each response to this RFP will be based on its demonstrated competence, compliance, format, and organization. The purpose of this RFP is to identify those suppliers that have the interest, capability, and financial strength to supply MCDEMS with cardiac monitors/defibrillators identified in the specification.

3.6 Training Vendor awarded bid will provide no less 3 days of training to ensure adequate education of all personnel at the expense of the company providing the equipment to MCDEMS.

4. Specification

New Cardiac Monitor

Seven cardiac monitor unit and accessories capable of the following: a. Unit to be new and of newest manufacturer’s model. b. All features should apply to adult and pediatric patients where appropriate. c. The listed functional requirements, equipment and accessories.

Criteria: Cardiac Monitor/Defibrillator ** This RFP for MCDEMS is seeking 7 new monitors with the following capabilities. 1. Automated External Defibrillation 2. Hands free manual defibrillation 200J-360J 3. 4 and 12 lead ECG 4. Synchronized Cardioversion - 0.5-360J 5. Transcutaneous Pacing with view of underlying rhythm with reasonable increasing Milliamp capabilities 6. Transmission of 12 lead ECG to local hospitals, and vitals/ekg transmission to ESO 7. SP02 and CO monitoring -with applicable adult and pediatric sensors 8. Capnography - In line 9. Non-invasive blood pressure monitoring with pediatric, adult and large adult cuffs 10. Li-ION batteries with AC adaptor 11. Hard or Soft carrying case 12. Battery support system

Estimated Costs

| Quantity | Description | Unit Cost | Total Cost |
| --- | --- | --- | --- |
| 7 | Cardiac monitor/Defibrillator With AED/ Pacing/ Cardioversion/ CO2, NIBP/12 lead/ SPO2 and CO monitoring, wifi/Bluetooth |  |  |
| 7 | Tester |  |  |
| 7 | Modem(if applicable) |  |  |
| 7 | Battery Charger |  |  |
| 7 | Carrying Case |  |  |
| 7 | Adult SPO2/CO sensor reusable |  |  |
| 7 | Pediatric SPO2/CO sensor reusable |  |  |
| 7 | Assorted BP Cuffs Reusuable |  |  |
| 7 | Shipping |  |  |
| 7 | Misc. Fees |  |  |
| 7 | Other |  |  |
| 7 | Trade In Philips MRX towards purchase of monitor |  |  |
| 7 | Service Agreement minimum of 5 years |  |  |